Dear Sir/Madam,

We are planning to procure equipment and infrastructure items for our laboratory and would like to request your best quotation for the items listed below.

Kindly provide your quotation including unit price, total cost, applicable taxes, delivery timeline, warranty details, and payment terms.

List of Required Items:

| SI. No. | Item | Specifications | Quantity |
| --- | --- | --- | --- |
| 1 | 5 KVA UPS with backup batteries and battery stand | Capacity: 5KVA on line UPS, Type: Single phase input, single phase output, Input voltage:170v-270v Ac. Frequency :50Hz, Output voltage :230v Wave form pure sine wave Switching device: IGBT Bypass: Manual, Isolation transformer :inbuilt, Warranty minimum three year. Battery -10 numbers 12 V, 100AH, C10 Range HADI Bar High Pressure Casting Tubular Battery, onsite manufacturer’s replacement warranty 4 Years. Battery stand | 1 UPS with 10 12V 100AH batteries |

#### –.

Please submit your quotation on or before [mention deadline] to this email address.

If you require any further clarification, please feel free to contact us.

We look forward to your response.

Thanking you.

Best regards,
CEAAK
[Your Designation]
[Organization Name]
[Contact Number]
[Email Address]