Dear Sir/Madam,

We are planning to procure equipment and infrastructure items for our laboratory and would like to request your best quotation for the items listed below.

Kindly provide your quotation including unit price, total cost, applicable taxes, delivery timeline, warranty details, and payment terms.

List of Required Items:

| SI. No. | Item | Specifications | Quantity | Similar specifications | Approximate price |
| --- | --- | --- | --- | --- | --- |
| 1 | Multimedia Projector | 3400 lumens, 2 HDMI,12000h lamp life, contrast ratio: 16000:1, 3LCD/DLP technology, Wireless LAN: Built-in, Minimum 1 year warranty, Power cord, HDMI cable, Remote control, warm up within 30s, Optical zoom, digital zoom 1.0-1.35, F number 1.58-1.70 Throw ratio range 1.02-1.23. Include projector screen of size 8X6 feet. | 1 | Epson Home TW750 | 90000 |
| 2 | 65” Interactive Display Panel | Diagonal Size 65" Panel, Resolution 3,840 x 2,160, Brightness (Typical) 350 cd/m² (220 cd/m² with glass), Contrast Ratio 4,000:1, Viewing Angle (H/V) 178/178°, Response Time 8 ms, Color Gamut 72 %, Glass Haze 2 % (without glass),‎ H-Scanning Frequency 30~81 kHz, Maximum Pixel Frequency 594 MHz, V-Scanning Frequency 48~75 Hz. HDMI In 2, USB 1, Audio Out Stereo Mini Jack, RS232 In Yes, RJ45 In Yes, WiFi Yes, Bluetooth Yes, simultaneous writing (up to 4 users), Brush Mode, Annotation on any background, File security, Screen sharing via Wi-Fi or HDMI out. 4 core processor, OS, 4GB RAM, 32 GB storage, Power Supply AC 100~240 V 50/60 Hz, Power Consumption (On Mode) 181.5 W, Power Consumption (Sleep Mode) 0.5 W Touch: yes, Touch Technology InGlass™. Certification and compliance as per requirement. | 1 | ## WM65R - 65'' Interactive Display | 100000 |
| 3 | Laptop | - 13th Generation Intel® Core™ i5-13420H Processor (E-cores up to 3.40 GHz P-cores up to 4.60 GHz), Windows 11 Home Single Language 64, Integrated Intel® UHD Graphics, 16 GB DDR5-5600MT/s (SODIMM)(2 x 8 GB), 1 TB SSD M.2 2242 PCIe Gen4 TLC, 40.64cms (16) 2.8K (2880 x 1800), OLED, Glare, Non-Touch, HDR 600 True Black, 100%DCI-P3, 500 nits, 120 Hz, 3 Cell Rechargeable Li-ion 47 Wh, 65W, ClickPad, Wi-Fi 6 2x2 AX & Bluetooth® 5.3 or above, 1 Year On-site warranty, MS Office Home 2024, 1YR Accidental Damage Protection, 1.6kgs / 3.52lbs | 10 | # IdeaPad slim, 5i 13th Gen | 730000 (Contact, Nijesh, Secutronics, Ph: 9961281118) |
| 4 | Workstation Desktop | Processor Intel® Core™ Ultra 7 265 vPro® Processor (E-cores up to 4.60 GHz P-cores up to 5.20 GHz) Operating System Windows 11 Pro 64 Graphic Card NVIDIA® GeForce RTX™ 5060 8GB GDDR7 Memory. 32 GB DDR5-5600MT/s (UDIMM) Storage. 1 TB SSD M.2 2280 PCIe Gen4 TLC Opal Design Keyboard USB, Calliope Gen 3, Black - English (IN). Pointing Device USB Calliope Mouse (Black with Red Wheel). AC Adapter / Power Supply 750W Warranty: 3 Year On-site. | 1 | ThinkStation P2 - Intel Core Ultra 7, 32GB RAM, 1TB SSD, Win 11 Pro, NVIDIA RTX 5060 8GB | 160000 (Contact, Nijesh, Secutronics, Ph: 9961281118) |
| 5 | 27” Monitor for work station | Screen Size 27", Panel Type In-Plane Switching, Resolution 1920 x 1080, Refresh Rate 100 Hz, Response Time 4 ms (Extreme Mode), 6ms (Normal Mode), Contrast Ratio 1500:1, Color Coverage 99% sRGB, Color Depth 8-bit, Color Support 16.7 Million, Backlight WLED, Connection Type 1 x HDMI 1.4, 1 x VGA, Brightness 300 cd/㎡, Aspect Ratio 16:9, Maximum Resolution 1920 x 1080, Mechanical Stand Tilt Angle (-5° / 22°) Viewing Angle 178° / 178° , Near Edgeless 3-side Near Edgeless Power Requirement AC 100 to 240 V (50-60 Hz), Power Consumption Typ: 17.3W, Max: 19.8W, Sleep/off mode: <0.5W, Switch-off mode: <0.3W Accessories HDMI cable, Power cable Warranty 3 Year | 1 | Lenovo L27-4e 68.58cms (27) Monitor | 10000 (Contact, Nijesh, Secutronics, Ph: 9961281118) |
| 6 | 5 KVA UPS with backup batteries and battery stand | Capacity: 5KVA on line UPS, Type: Single phase input, single phase output, Input voltage:170v-270v Ac. Frequency :50Hz, Output voltage :230v Wave form pure sine wave Switching device: IGBT Bypass: Manual, Isolation transformer :inbuilt, Warranty minimum three year. Battery -10 numbers 12 V, 100AH, C10 Range HADI Bar High Pressure Casting Tubular Battery, onsite manufacturer’s replacement warranty 4 Years. Battery stand | 1 UPS with 10 12V 100AH batteries |  | 150000 (Contact Pradeep Ph: 8086661027) |
| 7. | Digital Storage Oscilloscope 100MHz | Bandwidth: 100 MHz Channels: 2 Analog Channels Sample Rate: 1 GS/s (all channels) Record Length: 20k points (all channels) Vertical Resolution: 8-bit, Input sensitivity range 1 mV/div to 10 V/div max. in 1-2-5 sequence with probe attenuation set to 1X, DC gain accuracy, ±3.0 % step gain, derated at 0.1 %/°C above 30 °C Maximum Input Voltage 300 VRMS, Installation Category II; derate above 4 MHz at 20 dB per decade to 200 MHz Offset range 1 mV/div to 50 mV/div: ± 1 V, 100 mV/div to 500 mV/div: ± 10 V, 1 V/div to 5 V/div : ± 100 V, Input Coupling: DC, AC, or GND, Max Input Voltage: 300 V RMS CAT II Key, input impedance 1 MΩ ±2 % in parallel with 14 pF ±2 pF, Vertical zoom Vertically expand or compress a live or stopped waveform, Acquisition modes: Sample Acquire sampled values, Peak Detect Captures glitches as narrow as 4 nsec at all sweep speeds. Average From 2 to 256 waveforms included in average. Hi-Resolution Averages multiple sample of one acquisition interval into one waveform point. Roll Scrolls waveforms right to left across the screen at sweep speeds slower than or equal to 40 ms/div, Horizontal system - Analog channels, Timebase accuracy ±25 x 10-6 over any >1 ms interval, Timebase range 2 ns/div to 100 sec/div in a 1-2-4 sequence, Horizontal zoom Horizontally expand or compress a live or stopped waveform, Deskew range ± 100 nsec. Trigger system External trigger input Included on all models, Trigger modes Auto, Normal, Single Sequence Trigger Types Edge Positive or negative slope on any channel. Coupling includes DC, HF reject, LF reject, and noise reject. Pulse Width Trigger on width of positive or negative pulses that are >, <, =, or ≠ a specified period of time. Runt Trigger on a pulse that crosses one threshold but fails to cross a second threshold before crossing the first again. Trigger source CH1, CH2, AUX IN, AC Line Trigger Coupling DC, Noise Reject, High Frequency Reject, Low Frequency Reject. Trigger signal frequency readout Provides a frequency readout of the trigger source up to instrument bandwidth. Waveform measurements Cursors Time, Amplitude, Screen. Automated measurements 32, of which up to six can be displayed on-screen at any one time. Measurements include: Period, Frequency, Rise Time, Fall Time, Positive Duty Cycle, Negative Duty Cycle, Positive Pulse Width, Negative Pulse Width, Burst Width, Phase, Positive Overshoot, Negative Overshoot, Peak to Peak, Amplitude, High, Low, Max, Min, Mean, Cycle Mean, RMS, Cycle RMS, Positive Pulse Count, Negative Pulse Count, Rising Edge Count, Falling Edge Count, Area, Cycle Area, Delay FR, Delay FF, Delay FR, and Delay RR. Gating Isolate the specific occurrence within an acquisition to take measurements on, using either the screen, between waveform cursors or full record length. Waveform math Arithmetic Add, Subtract, and Multiply waveforms FFT Spectral magnitude. Set FFT Vertical Scale to Linear RMS or dBV RMS, and FFT Window to Rectangular, Hamming, Hanning, or Blackman-Harris. Display system Display Type 7-inch TFT Color Display Display Resolution 800 horizontal by 480 vertical displayed pixels (WVGA), Waveform styles Vectors, Variable persistence, and Infinite persistence. Format YT and XY. Input Output Ports USB 2.0 Host Port Supports USB mass storage devices. USB 2.0 device port Rear-panel connector allows for communication/control of oscilloscope through USBTMC or GPIB with a TEK-USB-488. Probe Compensator Amplitude 5 V Frequency 1 KHz Kensington Style Lock Rear-panel security slot connects to standard Kensington style lock. Power source Power source 100 to 240 VAC RMS ±10% Power source frequency 45 Hz to 65 Hz (100 to 240 V) 360 Hz to 440 Hz (100 to 132 V) Power consumption 30 W maximum | 1 | TBS1102C | 150000 |
|  | Computer Chairs | Revolving, adjustable height, cushioned seat and back computer chair model 802C black color, Ergonomic mid-back with fixed or adjustable arms (usually T-shaped or oval) and lumbar support. Backrest: Nylon breathable mesh, designed to reduce sweating and improve comfort. Seat: PU 45-density foam contour seat upholstered in fabric. Mechanism: Push-back mechanism with a single-position seat lock. Height Adjustment: Gas lift mechanism (Pneumatic) for adjustable seat height. Base: 5-wheel base (nylon or steel finish) with 50mm nylon castor wheels. Weight Capacity: Typically rated to support up to 110 kg (approx. 242 lbs). Dimensions: Roughly 55-62 cm width and 90-96 cm height | 20 |  | 70000 |
|  | Computer Tables | Linear modular workstation: Made of 50mm x 50mm metal under structure with raceways in powder coated finish Linear table top made of 25mm thick interior grade prelaminated particle board with PVC edge band finish and cut outs provided with plastic grommets to pass wires etc., complete. (Per seater - 1200 x 600 x 750mm Ht) | 12 |  | 80000 |
|  | Steel Shelves – 2-door almirah with 4 shelves | # Almirah, 2-Door Steel almirah, Cupboard for equipments, 1- year Warranty, 4 Shelves | 1 | Godrej Interio Slimline | 25000 |
|  | # Jetson Orin Nano Developer Kit | - AI Performance: Up to 67 TOPS (sparse) / 33 TOPS (dense). GPU: 1024-core NVIDIA Ampere GPU with 32 Tensor Cores. CPU: 6-core Arm® Cortex®-A78AE v8.2 64-bit CPU (1.7 GHz max). Memory: 8GB 128-bit LPDDR5 (102 GB/s). Storage: MicroSD slot, External NVMe (via M.2 Key M). Video: Encode: Up to 1x 4K60, Decode: Up to 1x 4K60 / 5x 1080p60 (H.265). Networking: Gigabit Ethernet. Connectivity: 4x USB 3.2 Gen2 (10Gbps), 1x USB Type-C, 2x M.2 Key M, 1x M.2 Key E. Camera: 2x MIPI CSI-2 (22-pin) connectors. Power: 7W - 25W (adjustable). Dimensions: 69.6mm x 45mm (Module) | 2 |  | 60000 |
|  | ESP32 AIoT Boards – ESP32 S3 BOX AIoT Kit | SoC: ESP32-S3 dual-core Xtensa 32-bit LX7 microprocessor up to 240 MHz. Memory/Storage: 512 KB SRAM, 16 MB Octal PSRAM, 16 MB Quad Flash. Connectivity: 2.4 GHz Wi-Fi 4 (802.11 b/g/n) and Bluetooth 5 LE. Display: 2.4-inch, 320x240 LCD capacitive touch screen. Audio: Dual microphones, speaker interface, audio codec (ES8311). Sensors: 3-axis gyroscope and 3-axis accelerometer (ICM-42607-P). Expansion/I/O: PCIe connector, Type-C interface, mute/boot/reset buttons. | 5 |  | 25000 |
|  | STM Boards IoT Discovery boards | Microcontroller: STM32L475VGT6 (Arm Cortex-M4 @ 80 MHz) with 1 MB Flash and 128 KB SRAM. Connectivity: Wi-Fi: Inventek ISM43362-M3G-L44 (802.11 b/g/n). Bluetooth: SPBTLE-RF (Bluetooth 4.1 Low Energy). Sub-GHz: SPSGRF-868 or SPSGRF-915 (low-power RF module). NFC: M24SR (Dynamic NFC tag with printed antenna). Sensors (MEMS): Motion: 3D accelerometer & 3D gyroscope (LSM6DSL), 3-axis magnetometer (LIS3MDL).Environmental: Pressure (LPS22HB), Relative humidity/Temp (HTS221). Proximity/Gesture: Flight Sense Time-of-Flight (VL53L0X). Audio: 2 digital omnidirectional microphones (MP34DT01). Expansion & I/O: Arduino Uno V3 connector. PMOD connector. USB OTG FS (Micro-AB). Debug/Power: On-board ST-LINK/V2-1 debugger/programmer. Flexible power: ST-LINK USB, USB VBUS, or external sources. | 5 | STM32 B-L475E-IOT01A | 35000 |
|  | Raspberry Pi Boards – Raspberry Pi 5, 8GB RAM, 27W Pi5 USB C Power supply, Pi5 active cooler, pi5 camera FPC cable 500mm, Pi5 case black, 64 GB SD card A2 | Raspberry Pi5, 64-bit Arm Cortex-A76 CPU, 8GB LPDDR4 SDRAM, 2 × USB 2.0 Ports, 2 × USB 3.0 Ports, Bluetooth 5.0, USB-C, Wi-Fi + Bluetooth® Low Energy, Standard 40-pin GPIO Header, H.265 (4Kp60 decode); 2 × micro HDMI ports (up to 4Kp60 supported), 4-Pole Stereo Audio and Composite Video Port, 2.4 GHz, 1 x DSI, 1 x Ethenet, 2 x Micro HDMI, 2 x USB 2.0, 2 x USB 3.0, 40-pin 2.54 mm (2×20 strip) GPIO, USB Type-C port, Micro SD Card Slot (Y/N): yes Supports high-speed SDR104 Mode, 27W Pi5 USB C Power supply, Pi5 active cooler, pi5 camera FPC cable 500mm, Pi5 case black, 64 GB SD card A2 | 2 |  | 40000 |
|  | Humanoid Robot Kit – Humanoid robot development kit | programmable humanoid robot designed for educational purposes. It supports programming in Arduino, Scratch, and Python. Equipped with 17 joints, can perform a variety of movements including walking, turning, dancing, gymnastics, and more, stability and flexibility. AI vision module, voice interaction module, WiFi, ultrasonic sensors, accelerometer, temperature and humidity sensors to perform basic functions such as distance ranging, obstacle avoidance, fall recovery, and touch sensing. | 1 | Hiwonder Tonybot Humanoid Robot with AI Vision & Voice Interaction (Think Robotics) | 60000 |
|  | LiDAR (360°) – 360° Laser Scanner, Range 0.2–12m | Measuring Range: 0.2m - 12m Sampling Frequency: 16K Rotational Speed: 10Hz(5Hz-15Hz) Angular Resolution: 0.225° Scan Field Flatness: ±1.5° Proof Level: Class 1, System Voltage: 5V, System Current: 450mA - 600mA, Power Consumption: 2.25W-3W, Output: UART Serial(256000bps), Temperature Range: 0℃-40℃, Angular Range: 360°, Range Resolution: ≤1% of the range(≤12m) ≤2% of the range (12m～16m), Accuracy: 1% of the range(≤3 m)2% of the range(3-5 m) 2.5% of the range(5-25m) | 1 | RPLIDAR A2M12 - 360 Degree LiDAR Laser Range Scanner (12m) (Think Robotics) | 25000 |
|  | SX130x LoRaWAN Gateway Module/HAT | Compatible With Raspberry Pi. Band Chip Sx130xfrequency Range 868m: Eu868, In865, Ru864 Power Supply 5v, Modulation Lora/(G)Fsk, Emit Power +26dbm@5v, Receiving Sensitivity -141dbm@125khz/Sf12,-121dbm@125khz/Sf5 Overall Power Consumption Emitting: 454ma@5v Receiving: 42ma@5v, Sleep: 11ma@5v Emitting: 427ma@5v Receiving: 40ma@5v, Sleep: 8ma@5v, Communication Bus Spi, I2c. External Connector Mini-Pcie Operating Temperature -40~85℃. Standard Raspberry Pi 40pin Gpio Extension Header, Supports Raspberry Pi Series Boards Incorporate L76k Module With Gps/Bd Support, Provide Accurate clock and location info for gateway module. | 2 |  | 24000 |
|  | Digital Multimeter | ## DC millivolts Range/resolution 600.0 mV / 0.1 mV, Accuracy ± ([% of reading] + counts]): 0.5% + 2, DC volts Range/resolution 6.000 V / 0.001 V, 60.00 V / 0.01 V, 600.0 V / 0.1 V, Accuracy ± ([% of reading] + [counts]): 0.5% + 2, AC millivolts1 True RMS Range/resolution 600.0 mV / 0.1 mV, Accuracy 1.0% + 3 (DC, 45 Hz to 500 Hz), 2.0% + 3 (500 Hz to 1 kHz), AC volts1 True RMS ange/resolution 6.000 V / 0.001 V, 60.00 V / 0.01 V, 600.0 V / 0.1 V, Accuracy 1.0% + 3 (DC, 45 Hz to 500 Hz), 2.0% + 3 (500 Hz to 1 kHz), Continuity Range/resolution 600 Ω / 1 Ω, Accuracy Beeper on < 20 Ω, off > 250 Ω detects opens or shorts of, 500 μs or longer. Ohms Range/resolution 600.0 Ω / 0.1 Ω, 6.000 kΩ / 0.001 kΩ, 60.00 kΩ / 0.01 kΩ, 600.0 kΩ / 0.1 kΩ, 6.000 MΩ / 0.001 MΩ, Accuracy 0.9% + 1, Range/resolution 40.00 MΩ / 0.01 MΩ, Accuracy 5% + 2, Diode test Range/resolution 2.00 V / 0.001 V, Accuracy 0.9% + 2, Capacitance Range/resolution 1000 nF / 1 nF, 10.00 μF / 0.01 μF, 100.0 μF / 0.1 μF, 9999 μF / 1 μF, 100 μF to 1000 μF, Accuracy 1.9% + 2, Range/resolution > 1000 μF, Accuracy 5% + 20%, Lo-Z capacitance Range 1 nF to 500 μF, Accuracy 10% + 2 typical, AC amps True RMS, (45 Hz to 500Hz) Range/resolution 6.000 A / 0.001 A, 10.00 A / 0.01 A, Accuracy 1.5% + 3, 20 A overload for 30-seconds max, DC amps Range/resolution 6.000 A / 0.001 A, 10.00 A / 0.01 A, Accuracy 1.0% + 3, 20 A overload for 30-seconds max, Hz (V or A input)2 Range/resolution 99.99 Hz / 0.01 Hz, 999.9 Hz / 0.01 Hz, 9.999 kHz / 0.001 kHz, 50.00 kHz / 0.01 kHz, Accuracy 0.1% + 2. All AC voltage ranges except Auto-V/LoZ are specified from 1% to 100% of range. Auto-V/LoZ is specified from 0.0 V. Frequency is AC coupled, 5Hz to 30 kHz for AC voltage. Temperature uncertainty (accuracy) does not include the error of the thermocouple probe. Frequency is AC coupled, 5 Hz to 50 kHz for AC voltage. Frequency is DC coupled, 45 Hz to 5 kHz for AC current. Temperature Range/Resolution: -40℉ to 752℉ / 0.2℉. Maximum voltage between any terminal and earth ground 600 V. Safety IEC 61010-1: Pollution Degree 2, IEC 61010-2-033: CAT III 600V, Display Digital: 6,000 counts, updates 4 per second, Bar graph 33 segments, updates 32 per second, Operating temperature -10℃ to + 50℃, Storage temperature -40℃ to + 60℃, Battery type 9 volt Alkaline, IEC 6LR61, Battery life 400 hours typical, without backlight, Warranty 3 years | 1 | ## Fluke 115 True RMS Digital Multimeter | 15000 |
|  | Analog Discovery Studio Max – Mixed-signal device, 14-bit, 50MHz, Multi-I/O | Mixed-Signal Oscilloscope: Channels: 4 BNC input channels. Resolution: 14-bit. Bandwidth: 50 MHz Sample Rate: Up to 100 MS/s per channel. Input Range: ±25 V. Function Generator: Channels: 2 BNC output channels. Resolution: 14-bit. Bandwidth: 15 MHz. Output Range: ±10 V. Sample Rate: Up to 100 MS/s. Digital I/O (Multi-I/O): Channels: 16 dynamically configurable digital input/output channels. Logic Standard: 3.3 V CMOS (1.8 V or 3.3 V input possible). Additional I/O: Up to 8 additional channels can be accessed depending on the canvas installed. Power Supplies: Programmable supplies: Two ±0.5 V to ±15 V, up to 500 mA per channel. Fixed Supplies: 15 V (500 mA), -15V (500 mA), 5 V (2 A), and 3.3 V (310 mA). Built-in Instruments & Features: Integrated Digital Multimeter (DMM). Tracer/IV Analyzer for diode/transistor characterization. Bode plots, Spectrum analyzer, Logic analyzer, Protocol analyzer. Physical & Software: Compatible with Digilent WaveForms, LabVIEW, C, Python. large breadboard surface, access to Analog Discovery Studio Max static power supplies, and a variety of common devices like switches, buttons, and LEDs to the Analog Discovery Studio Max. large breadboard surface, access to Analog Discovery Studio Max static power supplies, and a variety of common devices like switches, buttons, and LEDs to the Analog Discovery Studio Max | 1 |  | 200000 |
|  | ESD Workbench (Qty: 2) | Working table of size 2000 x 2000 x 750mm ht using 25mm thick pre laminated particle board table top, all metal Under structure with 50mm x 50mm MS Powder Coated finish, all inclusive etc., complete. | 1 |  | 30000 |
|  |  |  |  | Total | 1714000 |

#### –.

Please submit your quotation on or before [mention deadline] to this email address.

If you require any further clarification, please feel free to contact us.

We look forward to your response.

Thanking you.

Best regards,
CEAAK
[Your Designation]
[Organization Name]
[Contact Number]
[Email Address]